Installing the Cedrus USB Button box

Upon connecting the button box a popup window will appear asking to install the drivers.

- If asked whether to connect to the internet to look for the drives select no

- Click “Next”

- Select “install from a specific location”

- Click “Next”

- Select “Include this location in the search” and click “Browse”

- Navigate to the folder containing the cedrus USB drivers

- Click “Ok”

- Click “Next”

- The drivers will install

- Finaly click “Finish”

This process will happen twice.

Once installed open “Device Manager” by opening control panel > system and selecting the hardware tab then clicking on the “Device Manager” button.

Under the ports section the Cedrus USB button box should be present

Double click this item the select the “Port Settings” tab.

Click “Advanced” and note the com port number this must be used in the matlab script.